EC21 ADVANCED TECHNOLOGY DIMMER RACK SPECIFICATION.

GENERAL.

A.) Overview.

1.) The dimmer racks shall be fully digital, designed specifically for entertainment and architectural lighting, and shall consist of 24 or 48 dimmer module spaces. Dimmer rack systems shall be CE marked devices.

2.) Rack setup and preset data shall, as standard, be fully user programmable on a per rack or system wide basis. The dimmer rack shall report rack status to a remote personal computer or control console and, as an option, report dimmer status information.

B.) Mechanical.

1.) The dimmer rack shall be a freestanding, dead front switchboard, substantially framed and enclosed with16-gauge formed steel panels. All rack components shall be properly treated, primed and finished in fine texture, scratch resistant, coating.

2.) The 48 module dimmer rack shall not exceed 2032mm(h) x 623mm(w) x 660mm(d). Racks shall be designed to allow for adjacent mounting and for bolting to the floor. The 24 module dimmer rack shall not exceed 1448mm(h) x 623mm(w) x 660mm(d). Rack doors shall not increase the total rack depth by more than 60mm, and will not increase the rack footprint.

3.) The dimmer rack shall be designed to allow for easy insertion and removal of all modules without the use of tools. Optional dimmer row tie down bars shall be available to mechanically block each row of six dimmer modules into the rack and require the use of a tool. Dimmer supports shall be provided for precise alignment of dimmer modules into power and signal connector blocks.

4.) Rack spaces shall be mechanically keyed such that modules of greater current capacity cannot be accepted for that space. Racks that allow modules of higher wattage to plug into the same space shall not be acceptable.

5.) Multiple low-noise fans shall be provided to allow redundancy in case of fan failure. The fans shall maintain the temperature of all components at proper operating levels with dimmers at any load, providing the ambient temperature of the dimmer room does not exceed 35 degrees Celsius. Air shall flow over the surfaces of the heat generating components using a combination of convection and fan assisted airflow. Each rack shall be outfitted with a lockable door that does not impede airflow in any manner.

6.) Fans shall be gradually controlled between off and full speed in order to minimize fan noise under all operating conditions. In the event of a rack over temperature condition, a warning shall be displayed on the rack LCD display and remote personal computer (via web browser) and control console (via web browser). If the temperature rises 5 degrees C over the warning threshold, the dimmer rack shall shut down automatically. The system shall also provide low temperature shutdown below 1 degrees Celsius to prevent condensation damage to system electronics.

7.) Load terminations shall be clearly marked with the dimmer rack circuit number. Signal terminations shall be by plug-in screw terminals or insulation displacement to facilitate contracting and servicing and shall be clearly labeled. Rear access shall not be required for rack installation and termination.

8.) Module numbering shall be clearly marked via a numbering strip on the front of the dimmer module tray. Standard number strips shall be available in two channel module configurations. Custom lamacoid number strips may be used on custom installations.

C.) Electrical.

1.) Dimmer racks shall operate at 90 to 264VAC 3-phase, 4 wire + ground or 90 to 264VAC, 1 phase, 2 wire + ground, 47 - 63 Hz at a maximum of 800A per phase.

2.) Load circuit wiring terminals for line, neutral, and ground terminals shall accept up to a 16mm2 wire. An optional terminal adapter accepting up to 35mm2 wire shall be available. The fault current protection of the rack shall be 50,000 AIC. Provisions shall be made for optional amp trap devices to provide 100,000 AIC fault current protection if required.

3.) Dimmer racks shall be available with side or bottom power feeds to meet a wide range of installation requirements.

D.) Rack Electronics, Physical.

1.) The main dimmer control electronics shall be housed in a Rack Processor Module (RPM). The dimmer control electronics shall be completely digital without employing any digital to analog demultiplexing schemes or analog ramping circuits.

2.) All rack setup and preset data shall be stored in a non-volatile manner and may be transferred to a replacement Rack Processor Module without losing data.

3.) Each Rack Processor Module shall have a back-lit LCD display with a six key (minimum) keypad for rack setup, preset control, testing, rack status, error and diagnostics.   Bi-Color LED's shall indicate "Network Connection", "DMX512 Port A", "DMX512 Port B", "Processor OK", "Module Event", "Panic", "Over temperature" "Phase A", "Phase B", "Phase C", "Active Processor".

4.) An optional backup Rack Processor Module shall provide full redundant tracking processor functions.  The Backup RPM shall track all setup, preset and other commands at all times without any operator action. The Backup RPM shall take over all communications and dimming control upon automatic activation.

5.) All rack setup and preset data shall be electronically transferable between the main Rack Processor Module and the backup RPM in case of the replacement of either of the modules. Rack set up data shall be stored in non-volatile memory.

6.) The Rack Processor Module shall provide signal connections in conjunction with optional power supply units. The RPM shall provide the only point for contractor connection of signal cables and PANIC activation. The contractor connections shall be made with two-part plug in screw terminals (dedicated connector per input) or crimped RJ45 connectors for ease of installation. The RPM shall feature an integrated Ethernet switch to permit the cross connection of up to 4 dimmer racks in a single dimmer room. RPM to RPM Ethernet connections shall be made with pre-made RJ45 patch cables.

7.) All DMX512 & RS485 communication ports and remote contact input connections shall be optically isolated from all processor electronics by a minimum of 2,500V RMS isolation.

8.) The Rack Processor Module shall have the provision to select any of a maximum of 96 dimmer outputs to be activated by the PANIC function. The PANIC function shall be activated or de-activated by one or more local or remote contact closures.

E.) Rack Electronics, Control and Communications.

1.) The control electronics shall provide the following control and communication inputs as standard:

a.) An Ethernet control input. This input can support a connection to a Strand ShowNet system. Each Ethernet control input can generate Reporting messages for the dimmer rack. This input shall also allow for local connection to a personal computer, providing setup, playback, dimming reporting features, and the ability to load rack-operating software.

b.) Two optically isolated DMX512 control inputs. The first input shall accept DMX512 only. The second DMX512 input may be configured to accept DMX512, or Strand Lighting's Vision.net architectural protocol.

c.) Optically isolated contact inputs, for external switching interfaces (24V 100ma). These closures are dedicated for:

1.) PANIC ON Momentary Turns Panic On.

2.) PANIC OFF Momentary Turns Panic Off.

3.) FIRE ALARM Maintained Turns Panic On, no Override.

F.) Rack Electronics, Features.

1.) The rack electronics shall provide two levels of operator interface:

a.) A local standard interface that includes 6 menu keys and a bitmapped backlit LCD display (minimum 16 character x 2 line) to access standard system menus.

b) A networked customizable Web based interface that includes status displays, configuration and maintenance utilities, integrated on-line help system, and alert emails. Support for wireless PDA's shall allow query and control functions.

2.) The dimmer control electronics shall have 16 bit (minimum) fade processing and a dimmer update rate better than 16 ms (60 Hz) or 20 ms (50 Hz). Dimmers set to the same level shall output within +/-.5V of each other, regardless of phase or input voltage, providing the desired level is less than the phase input voltage less the dimmer insertion voltage.

3.) The dimmer output levels shall be regulated for incoming line voltage variations. The regulation shall adjust for both RMS voltage and frequency changes of the incoming AC wave form. Regulation shall maintain the desired output voltage +/- .5V volt for the entire operation range (90 - 264 VAC). The regulation shall compensate for variations of the AC waveform on a dimmer-by-dimmer basis. There shall be no interaction between dimmers in the system or any other equipment. The output shall be regulated to the user programmable maximum voltage level on a dimmer-by dimmer basis. The processor response time to incoming line changes shall take no more than 16 ms (60 Hz) or 20 ms (50 Hz). Dimming systems that do not respond to line voltage and frequency variations shall not be acceptable.

4.) The control electronics shall allow the maximum output levels of individual dimmers to be adjusted, e.g. to compensate for load circuit voltage loss. The selected dimmer curve shall regulate so that the curve is proportional to the programmed maximum voltage.

5.) The RPM shall also have the capability to support dimmers of different types and sizes that may be mixed throughout the rack. Individual dimmers may be dimmed or switched (non-dim). The individual phase control or switching of positive and negative line voltage half cycles shall not be acceptable, as the net resultant DC line current may damage or degrade line supply transformers.

6.) As a standard, dimmer rack status reporting shall report the following conditions/data:

a.) Rack input line voltage per phase.

b.) DMX512 Port A input fail.

c.) DMX512 Port B input fail.

d.) Phase failure (L1, L2, L3).

e.) Rack temperature.

f.) Rack overtemp warning (37 degrees Celsius).

g.) Rack overtemp shutdown (40 degrees Celsius)

h.) Rack under temp shutdown (0 degrees Celsius).

7.) IGBT dimmer modules shall be fully status reporting as a standard. Optional Dimmer Reporting Cards (DRC) can be factory installed into a standard SCR dimmer modules.  All status reporting dimmers and shall report the following conditions/data:

a.) Dimmer type in slot. (Dimmer dipswitch set at factory).

b.) Load (Wattage) per dimmer.

c.) Deviation from recorded dimmer load.

d.) No dimmer load.

e.) Excess DC on dimmer.

f.) Overload on dimmer.

g.) Power device failure (short circuit or open circuit).

h.) Circuit breaker open.

i.) Dimmer fault.

j.) Change in dimmer type fitted.

k.) RMS Phase current per rack phase.

l.) Dimmer module temperature (w/module shutdown on and over temperature condition.

m.) Forced on at dimmer module.

n.) Dimmer panic.

8.) The control electronics shall provide the following setup functions that shall be user programmable on a per rack or system wide basis:

a.) DMX512 Port A patch.

b.) DMX512 Port B patch.

c.) Architectural controls for Vision.net control systems.

d.) Set rack and circuit ID's (CID).

e.) Dimmer reporting enable/disable. (By dimmer module).

f.) Set dimmer level (%).

g.) Set dimmer maximum voltage (12V - 260V in 1V steps).

h.) Set SCR dimmer maximum voltage (24V - 260V in 1V steps).

i.) Set dimmer minimum level (0 to 99%).

j.) Set dimmer curve.

k.) Set dimmer response time.

l.) Set control input priority logic.

m.) Set status reporting parameters.

n.) Program user curves.

9.) The DMX512 Port A and B patching shall support a rack start address and individual dimmer patch. The architectural patch shall define the rack circuit/room/room channel relationship for Vision.net control systems.

10.) The control electronics shall provide a facility to disable the output of any individual dimmer by setting the level to 0. It shall also be possible to enable and disable dimmer status reporting on a per dimmer basis.

11.) The control electronics shall contain Vision.net user programmable presets, a permanent blackout preset (preset 0) and a user-definable power up preset. It shall be possible to record individual preset crossfade times, including preset 0. The presets shall be user programmable as a snapshot of the current dimmer outputs resulting from all dimmer control sources according to selected control logic, on a per rack or system wide basis. Each preset may have an individual crossfade time between 0 seconds and 60 minutes.

12.) The control electronics shall support a user assignable "control lost" Vision.net preset. Each rack shall, in the event of loss of control signal according to the selected port logic, maintain the last levels for a user programmable period ranging from 0 seconds to 60 minutes. After this time period it shall automatically fade to the "control lost" preset. Alternatively it shall be possible to program the rack to indefinitely hold the last dimmer levels. It shall be possible to continue control without an active control signal using any of the architectural presets. Time resolution to be a minimum of one second.

13.) The processor shall provide an architectural Vision.net control system preset capability of 125 channels for each of 255 separate rooms with programmable fade times. Time resolution to be a minimum of one second.

14.) The system shall provide the ability to set one or a group of dimmers to any level.

15.) The control electronics shall provide the ability to set a library or user programmable 100-point curve (processor to apply a linear interpolation between the user points) to any individual dimmer. Library curves shall be:

a.) Square curve.

b.) S-curve.

c.) Linear power output curve.

16.) User selectable curves shall be:

a.) Non-dim (switched) with a programmable trigger level 0 - 99%.

b.) Electronic ballast fluorescent curve with a kick-start voltage and user programmable top set and bottom cut-off point.

c.) Magnetic ballast fluorescent curve with user programmable top set and bottom cut-off point.

d.) Five user defined programmable curves, programmed with up to 100 steps. The processor is to apply a linear interpolation between the user points.

17.) Each dimmer shall have one of three user programmable response (rack will fade to the new target level in the defined response time) in order to optimize lamp filament life and speed of operation:

a.) Fast (30 ms).

b.) Normal (100 ms).

c) Slow (300 ms).

18.) The system processor shall provide a number of user programmable control logic schemes, regulating the logical relationship between dimmer control sources It shall be possible to set the way in which various control inputs interact with each other to create priorities between all control inputs.

19.) It shall be possible to load new rack operating software via the Ethernet connection to the dimmer rack. There shall be no requirement to turn power to the rack off during the loading of rack software, and in addition the Panic facility and Redundant Tracking Backup (RTB) processors shall be fully operational during software loading to the active processor. It shall be possible to load new rack operating software into the processor, regardless of the state of the program storage.

G.) Dimmer Modules.

1.) The dimmer modules shall be designed using advanced, state-of-the-art components specifically for entertainment lighting.  IGBT dimmer modules for 230 volt applications shall be available in dual 2.5kW and single 5.0kW configurations. SCR Dimmer modules for 230 volt applications shall be available in dual 3.0kW, dual 5kW, and single 10kW configurations. Modules of similar types shall be interchangeable allowing systems with both SCR and IGBT dimmers to be configured freely. Systems that do not permit the mixing of SCR and IGBT dimmers shall not be accepted.

2.) The dimmer modules shall be designed using advanced, state-of-the-art components. The dimmer module shall be capable of "hot patching" cold, incandescent loads up to its full rated capacity without malfunction with the control signal at full ON.

3.) All single and dual dimmer modules shall be available with optional dimmer status reporting.

4.) The dimmer modules shall be fully plug-in and factory wired. Dimmer modules shall be of rugged and heavy-duty construction enclosed by a formed aluminum chassis. Power and signal pins shall be recessed in a self-aligning housing to avoid handling, storage, and insertion damage. A contoured handle shall be provided for ease of insertion and withdrawal. All chassis parts, except heat sinks, shall be properly treated, primed and finished in fine texture, scratch resistant, coating. Each module shall be labeled with the Philips Strand Lighting logo and rating. Modules constructed of molded plastic for structural support shall not be acceptable. Dimmer modules shall be CE marked devices.

5.) Dimmer modules shall be keyed so that dimmer modules of greater capacity shall not be interchangeable.

6.) Non-Dim modules shall be available to provide dedicated non-dim circuits not employing SSR devices. Dual modules shall be available providing non-dim/non-dim configurations. Each non-dim shall be provided with a primary circuit breaker of the appropriate rating. Non-dims shall be designed so they can be used for inductive loads.

7.) IGBT dual dimmer modules shall be available with current ratings of 2.5kW. IGBT single dimmer modules shall be available with current ratings of 5.0kW. Each module shall offer full dimmer status reporting to match all other modules in the EC21 Advanced Technology product family. IGBT Dimmer modules shall be fully interchangeable with standard SCR dimmer modules of the same current rating and may be used in systems with standard SCR dimmers.  They shall conform to the following specification:

a.) The insertion loss (voltage drop across the complete dimmer at full load current while producing a full output sine wave) shall be less than three volts RMS.  Insertion loss at reduced dimmer loading shall not vary significantly from that produced with a full rated load. IGBT Dimmers with insertion loss greater than three volts RMS at full rated load shall not be acceptable.

b.) IGBT dimmers shall regulate dimmer output to within +/- 0.5 volts RMS of the assigned setting.  Regulating response shall occur in the same power line cycle as the disturbance when the dimmer is in Reverse Phase Control (RPC) mode.

c.) IGBT dimmers shall not use zero cross detection to synchronize to the power line. Dimmer output voltage shall be unaffected by severely distorted or noisy power line waveforms.

d.) IGBT dimmers shall automatically switch from Reverse Phase Control (RPC) mode to Forward Phase Control (FPC) mode when inductive loads are detected. In RPC mode the dimmer is on from the beginning of the half-cycle until the desired output voltage is reached. In FPC mode, the dimmer turns on within the half-cycle and stays on until the end of the half-cycle. Use of RPC mode, when load type and other conditions permit, reduces the level of lamp filament noise.  IGBT dimmers may also be user set to FPC or RPC modes for LED luminaires.

e.) LOW HARM mode shall reduce harmonic currents present on the feed neutral conductor by automatically switching the dimmers in the system to an optimum configuration of FPC and RPC operation. The reduction in neutral current shall be a minimum of 33% with a maximum of 100%, depending upon load sizes and their associated levels.

f.) Each IGBT dimmer will detect operating conditions and take active measures to protect itself (and the load).  Protective measures shall include, but are not limited to the following:

1.) At power-up, each dimmer will detect excessive line voltages.  When over-voltage is detected, the dimmer will not turn on its load.

2.) Each dimmer shall detect excessive heat sink operating temperatures and automatically reduce its own "fall time", which minimizes the production of heat.

3.) Each dimmer shall detect load current in excess of its own rating.  An overload will cause a dimmer to shut down.

8.) Each dimmer module shall contain circuit breakers, associated solid state switching modules, filters, power and control components.

9.) Standard dimmer electronics shall be completely solid state. They shall utilize two silicon controlled rectifiers in a back-to-back electrical configuration. The full load of the circuit is to be carried and controlled by the silicon controlled rectifiers.

10.) Each dimmer shall be protected by a single pole thermal magnetic circuit breaker of the appropriate current rating and 10,000 AIC surge rating mounted on the face plate of the dimmer module so that the trip current is not affected by ambient or rack temperature. Single pole neutral disconnect and RCD breakers shall be available as options. The circuit breaker shall be rated for tungsten loads having an inrush rating of no less than 20 times normal current and shall disconnect the power to the dimmer module before damage can be done to the dimmer power components. The circuit breakers shall be rated for 100 percent switching duty applications and shall be CE marked devices.

H.) Dimmer Module Power Devices.

1.) SSR power devices shall be encapsulated, epoxy filled high impact plastic cases with optically isolated firing circuits, control circuitry, and two silicon controlled rectifiers (SCR's). There shall be a minimum of 2,500 (4,000 in 50Hz systems) volts RMS of isolation between the AC line and the control lines of the SCR. The SCR shall be in an industry standard format that is easily field replaceable without removing any other electrical or electronic devices.

I.) SCR Power Device Filtering.

1.) Each SCR power device dimmer module shall have an integral inductive filter to reduce the rate of current rise time resulting from the SSR switching on. The filter shall limit objectionable harmonics, reduce lamp filament sing and limit the radio frequency interference on line and load conductors.

2.) Basic Rise dimmers shall have a rise time of not less than 200 microseconds measured at 90 degrees conduction angle from 10% to 90% of output wave form with dimmer operating at maximum load. Voltage rate of rise (slew rate) must not exceed 420 millivolts per microsecond in any point of the wave under full load conditions.

4.) Hi-Rise dimmers shall have a rise time of not less than 400 microseconds measured at 90 degrees conduction angle from 10% to 90% of output wave form with dimmer operating at maximum load. Voltage rate of rise (slew rate) must not exceed 210 millivolts per microsecond in any point of the wave under full load conditions.

5.) IGBT dimmers shall have a rise time of not less than 650 microseconds measured at 90 degrees conduction angle from 10% to 90% of output wave form with dimmer operating at maximum load. Voltage rate of rise (slew rate) must not exceed 210 millivolts per microsecond in any point of the wave under full load conditions.

J.) Approved Manufacturer and Products.

1.) Dimmer racks, modules and control electronics shall be Strand EC21 Advanced Technology dimmer racks.